## Sheet1
At a Glance
Lab Space | 1000 sqft
Equipment Cost | 870K
Service Cost | 190K
Total | 1.06M
Key Items
Widely tunable narrow linewidth laser + detectors | 100K
High-speed oscilloscope | 120K
Pattern generator and bit error rate tester | 100K
Optical spectrum analyzer | 100K
AIM Photonics tape-out | 110K
Breakdown
Equipment
Item | Qty | Unit Price | Subtotal | Comment | Additional Comment | Example
Floating optical table (5' x 10') | 4 | 15K | 60K | Requires compressed air hookup in lab ~80 PSI | Ideally 1 student/table by end of yr 2; Maximally 2 students/table | https://www.thorlabs.com/thorproduct.cfm?partnumber=T510WK
Nanomax positioning stages and chip mounts | 8 | 3.5K | 28K |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=MAX311D#ad-image-0
Widely tunable narrow linewidth laser + detectors | 1 | 100K | 100K |  | Might get used unit for ~70K upon availability | https://www.keysight.com/us/en/product/N7776C/tunable-laser-source-high-power-lowest-sse-top-line.html
Optical microscopes and scientific cameras | 4 | 15K | 60K |  |  | Thorlabs Cerna Microscope + Thorlabs High Resolution Camera + Mitutoyo Long Working Distance Objective
High-speed oscilloscope | 1 | 120K | 120K |  |  | https://www.keysight.com/us/en/product/N1092C/dca-m-sampling-oscilloscope-one-optical-two-electrical-channels.html
Pattern generator and bit error rate tester | 1 | 100K | 100K |  |  | https://www.anritsu.com/en-us/test-measurement/products/mp1900a
Optical spectrum analyzer | 1 | 100K | 100K |  |  | https://tmi.yokogawa.com/us/solutions/products/optical-measuring-instruments/optical-spectrum-analyzer/aq6380-optical-spectrum-analyzer/
DC power supplies and source measurement units | 6 | 8K | 48K | Required for electrical biasing of devices and DC current read-out |  | Keysight, Keithley, Qontrol
High-speed receivers and PD | 2 | 10K | 20K |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=RXM40AF
High speed linear transmitter | 1 | 30K | 30K |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=MX40B
Optical amplifiers and attenuators | 2 | 10K | 20K |  |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=EDFA300P
Optical tunable filters | 1 | 30K | 30K |  |  | https://www.exfo.com/en/products/lab-manufacturing-testing/tunable-filters/xta-50/
Electrical DC/RF probes and positioners |  |  | 20K
Lensed fibers and fiber arrays |  |  | 20K |  |  | OZOptics
Miscellaneous fiber equipment |  |  | 40K | Fiber management, fiber splitters/taps, fiber WDMs, fiber circulators, fiber mating sleeves |  | Thorlabs
Miscellaneous |  |  | 50K | Patch fiber, bulk heads, fiber caps, polarization controllers, fiber break detectors, SMA Cables, GPIB cables, GPIB to USB converters, optical power meters, digital multimeters, tool kit, screw kits, Allen wrenches, TECs, optical table clamps, carbon-tipped tweezers
Chip handling/storage (Gel-Pak) |  |  | 5K
Lab and office computers/servers |  |  | 20K | For automating experiments, data collection/storage/analysis, and numerical simulations
Equipment Subtotal |  |  | ~870K
Service
Item | Qty | Unit Price | Subtotal
AIM Photonics tape-out | 2 | 55K | 110K | Using MPW offering or as sub-riders on collaborators' run | One run per year for two years
PCB fabrication and assembly |  |  | 10K | For chip packaging and testing
Electrical/optical packaging |  |  | 50K | W/ AIM TAP/Micross and Optelligent
Simulation software licence |  |  | 20K | Ansys Lumerical, Tidy3D | 10K/year for 2 years
Compute cluster usage
Service Subtotal |  |  | 190K
Total |  |  | 1.06M