## Sheet1
At a Glance
Lab Space | 1000 sqft
Equipment Cost | 900K
Service Cost | 190K
Total | 1.09M
Key Items
Widely tunable narrow linewidth laser + detectors | 100K
High-speed oscilloscope | 120K
Pattern generator and bit error rate tester | 100K
Optical spectrum analyzer | 100K
AIM Photonics tape-out | 110K
Breakdown
Equipment
Item | Qty | Unit Price | Subtotal | Priority | Comment | Additional Comment | Example
Floating optical table (5' x 10') | 4 | 15K | 60K | 1 | Requires compressed air hookup in lab ~80 PSI | Ideally 1 student/table by end of yr 2; Maximally 2 students/table; Can be a different size | https://www.thorlabs.com/thorproduct.cfm?partnumber=T510WK
Nanomax positioning stages and chip mounts | 8 | 3.5K | 28K | 1 | 2-4 stages needed per setup, 8 needed for 2-4 setups | Minimal 4 units -- 1-2 setup(s) | https://www.thorlabs.com/thorproduct.cfm?partnumber=MAX311D#ad-image-0
Widely tunable narrow linewidth laser + detectors | 1 | 100K | 100K | 1 | Most important light source to have | Might get used unit for ~70K upon availability | https://www.keysight.com/us/en/product/N7776C/tunable-laser-source-high-power-lowest-sse-top-line.html
Optical microscopes and scientific cameras | 4 | 15K | 60K | 1 | 1 microscope needed per setup, 4 needed for four setups | Minimal 2 units -- 2 setups | Thorlabs Cerna Microscope + Thorlabs High Resolution Camera + Mitutoyo Long Working Distance Objective
High-speed oscilloscope | 1 | 120K | 120K | 1 | Required for eye diagrams | Already price for used unit | https://www.keysight.com/us/en/product/N1092C/dca-m-sampling-oscilloscope-one-optical-two-electrical-channels.html
Pattern generator and bit error rate tester | 1 | 100K | 100K | 1 | Required for PRBS generation and BER testing | Might get older model for ~50K | https://www.anritsu.com/en-us/test-measurement/products/mp1900a
Optical spectrum analyzer | 1 | 100K | 100K | 1 | Required for measuring optical spectrum |  | https://tmi.yokogawa.com/us/solutions/products/optical-measuring-instruments/optical-spectrum-analyzer/aq6380-optical-spectrum-analyzer/
DC power supplies and source measurement units | 6 | 8K | 48K | 1 | Required for electrical biasing of devices and DC current read-out | Might start with 3 DC supplies and 1 precision source meter | Keysight, Keithley, Qontrol
Optical amplifiers and attenuators | 2 | 10K | 20K | 1 | Required for optical power management in link-level test |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=EDFA300P
Electrical DC/RF probes and positioners |  |  | 20K | 1 | Required for electrically probing the photonics chip
DFB array chassis and modules | 8 | 3.5K | 28K | 1 | Required for multi-channel concurrent experiments | Good to have 8, might start with 4 | https://www.thorlabs.com/thorproduct.cfm?partnumber=WDM8-C-25A-20-NM
High-speed receivers and PD | 2 | 10K | 20K | 2 | Useful for standalone transmitter test |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=RXM40AF
High speed linear transmitter | 1 | 30K | 30K | 2 | Useful for standalone receiver test |  | https://www.thorlabs.com/thorproduct.cfm?partnumber=MX40B
Optical tunable filters | 1 | 30K | 30K | 2 | Useful for looking at specific band/wavelength |  | https://www.exfo.com/en/products/lab-manufacturing-testing/tunable-filters/xta-50/
Lensed fibers and fiber arrays |  |  | 20K |  |  |  | OZOptics
Miscellaneous fiber equipment |  |  | 40K |  |  |  | Fiber management, fiber splitters/taps, fiber WDMs, fiber circulators, fiber mating sleeves
Miscellaneous |  |  | 50K |  |  |  | Patch fiber, bulk heads, fiber caps, polarization controllers, fiber break detectors, SMA Cables, GPIB cables, GPIB to USB converters, optical power meters, digital multimeters, tool kit, screw kits, Allen wrenches, TECs, optical table clamps, carbon-tipped tweezers
Chip handling/storage (Gel-Pak) |  |  | 5K
Lab and office computers/servers |  |  | 20K |  | For automating experiments, data collection/analyses, and simulations
Equipment Subtotal |  |  | ~900K
Service
Item | Qty | Unit Price | Subtotal
AIM Photonics tape-out | 2 | 55K | 110K |  | Using MPW offering or as sub-riders on collaborators' run | One run per year for two years
PCB fabrication and assembly |  |  | 10K |  | For chip packaging and testing
Electrical/optical packaging |  |  | 50K |  | W/ AIM TAP/Micross and Optelligent
Simulation software licence |  |  | 20K |  | Ansys Lumerical, Tidy3D | 10K/year for 2 years
Compute cluster usage
Service Subtotal |  |  | 190K
Total |  |  | 1.09M